## Hoja1
Shunt Resistor | 11 | Ohms
Battery Voltate | 3 | V
Acquisition (peak) |  |  | Energy consumed during power-on state
Vmax during | 0.196 | V | Acquisition | 2.2451e-06 | A*s
Peak period | 4.2e-05 | s | Sampling | 0.011415 | A*s
Vmin during | 0.014 | V | Total | 0.011418 | A*s
|  |  | Total (A*h) | 3.1715e-06 | A*h
Sampling window
Vmean | 0.192 | V
Period | 0.218 | s | Assuming continuous operation, 2xAA (2 A*h) batteries
may keep this sensor running (assuming batteries will be
Idle |  |  | discharged 'till their 30%)
Vmean | 0.00096 | V |  | 441426.9441 | hours
Period | Based on optimization |  |  | 18392.7893 | days
|  |  |  | 613.093 | months
This sensor is not significantly affecting low-power capabilities at all!
Will not be disconnected dinamically.